QUEENSLAND BLIND ASSOCIATION INC.

M300

LED MAGNIFIER 3x

HAND HELD BATTERY OPERATED

# Battery Powered Models:

    	Batteries must not be disposed of in household waste.  Ensure that they are correctly disposed of.

	Ensure that other people, especially children, are aware of these dangers.

## Safety Instruction

	Danger of Fire, Lenses used in optical equipment may cause considerable damage through their “burning glass effect” if used or stored incorrectly.  Ensure that optical lenses are never left uncovered in the sunlight.

	Danger of blinding or injury! Never look at the sun through any optical equipment. Mobilux LED: Never look straight into the source of light.

	Protect your illuminated magnifier from knocks, bangs, moisture and excessive heat.  Never place your illuminated magnifier on heaters or in the sunlight.

	The dust cover belonging to the illuminated magnifying glass can be swivelled up or removed (by “over turning”).  It ought to be snapped on and closed as long as the illuminated magnifying glass is not in use.

## Operating Instructions

- Switch on the lamp by pushing the switch towards the lenses.

- Place the illuminated magnifier on top of the text being read.

- When the LED is flashing, this means that the batteries are old and need to be replaced.

- If the colour of the light does not suit you, you can take off the clear LED cap and exchange it with the yellowish LED cap.

### Battery Replacement

- Switch off the lamp by pushing the switch towards the end.

- Turn the lens cover counter-clockwise, until removed.

- Holding magnifier with on/off switch at the back, push button up on the left side below the glass and open the back out.

- Replace the old batteries with new ones.

- Snap Closed. Replace lens cover.

# Instruction for care

Do not use soap solutions that contain softeners, alcohol based solvents or abrasive cleaning products.  These may damage the lenses.